## Sheet1
Device | MODEL | Model Number | Serial Number | I.P | Battery | STATUS | BW
Network Router / Switches | Cisco 2811 |  |  | 192.168.1.4 |  | Online
Network Router / Switches | Cisco 3945 E |  |  | 192.168.1.11 |  | Online
Network Router / Switches | Cisco 2911 |  |  | 192.168.1.12 |  | Online
Network Router / Switches | Cisco 4948 - 48 port | [5 empty] | 100 / 1000
Network Router / Switches | Cisco 2960 - 48 port |  |  | 192.168.1.8 |  |  | 10 / 100
Network Router / Switches | Cisco 2960 - 48 port |  |  | 192.168.1.9 |  |  | 10 / 100
Network Router / Switches | Cisco 2950 - 24 port | [5 empty] | 10 / 100
Network Router / Switches | Cisco 2960 - 48 port
Network Router / Switches | Cisco Router-2900 |  |  | 192.168.1.4 |  | online
CCTV System | HIK VISON NVR |  | AK3217632 | 192.168.1.3 |  | Online
CCTV System | HIK VISON |  |  | 192.168.1.248 |  | Online
CCTV System | HIK VISON |  |  | 192.168.1.247 |  | Online
Attendance Devices | Enviz attendance -1 |  |  | 192.168.1.13 |  | Online
Attendance Devices | Enviz attendance - 2 |  |  | 192.168.1.14 |  | Online
UPS | APC -online UPS |  |  |  | 12 x 38 Amp batteries | Offline
UPS | UPS 1 new UPS added (3kv) dated 24 March 2022) |  |  |  | 4x batters | Online |  | placed upper alonside batteries
UPS | UPS 2 new UPS added (3kv) | SUA3000RMXLI3U | AS1343132936 |  | 4x batters | Online
UPS | lower UPS's Upper Batteries changed UPS (dated 21-01-2022)
UPS | UPS 3 | SUA3000RMI2U | YS0352120761 |  | 4 x 200 Amp batteries | Online
Printer | HP LaserJet P2055dn |  |  | 192.168.1.223 |  | Online
Printer | HP LaserJet MFP 135a |  | CNB2QDLLNB |  |  | Online
Printer | HP LaserJet MFP 135a |  | CNB3R329GJ |  |  | Offline